## ScreenList
ScreenID | ScreenName | ScreenType | AccessLevel | Title_EN | Title_TR | Title_DE | NavigateTo | LinkedAlarm | Notes | Status
SCR001 | Main_Overview | Overview | Operator | Main Overview | Ana Görünüm | Übersicht | SCR002,SCR010 |  | Plant overview | Active
SCR002 | Motor_Faceplate | Detail | Operator | Motor Detail | Motor Detayı | Motor Detail | SCR001 | ALM0001,ALM0002 | Pump01 faceplate | Active
SCR010 | Alarm_List | Alarm | Operator | Alarms | Alarmlar | Alarme | SCR001 | (all) | ISA-18.2 summary | Active
SCR020 | Recipe_Mgmt | Recipe | Supervisor | Recipe Management | Reçete Yönetimi | Rezeptverwaltung | SCR001 |  |  | Active
SCR030 | Trends | Trend | Operator | Trends | Eğilimler | Trends | SCR001 |  |  | Active
SCR090 | Diagnostics | Diagnostic | Engineer | Diagnostics | Tanı | Diagnose | SCR001 |  |  | Active

## Signals
HMI_TagID | PLC_Tag | ScreenRef | ElementType | Label_EN | Label_TR | Label_DE | ReadWrite | MinValue | MaxValue | EngUnit | Notes
HMI_PUMP_01_RUN | MOT_PUMP_01_OUT | SCR001 | Indicator | Pump 1 Running | Pompa 1 Çalışıyor | Pumpe 1 läuft | Read
HMI_PUMP_01_START | DB_HMI.bBtn_Pump01_Start | SCR002 | Button | Start | Başlat | Start | Write
HMI_TT_001_VAL | ANALOG_TT_001 | SCR002 | NumericDisplay | Temperature | Sıcaklık | Temperatur | Read | -20 | 200 | °C
HMI_SETPOINT_001 | DB_Recipe.rSetpoint | SCR020 | NumericInput | Setpoint | Set Değeri | Sollwert | Write | 0 | 100 | %
HMI_LED_MODE | DB_System.ModeState.iCurrentMode | SCR001 | Indicator | Mode | Mod | Modus | Read

## Sheet3
HMI element | Sebep