## BlockList
BlockName | BlockType | Version | Description | CalledFrom | InstanceDB | LinkedEquipment | TemplateBase | Notes | Status
FB_Motor_Conveyor | FB | 1.0.0 | DOL/VFD motor kontrolü (Almanca yorum) | OB1 | DB_Mot_Conv01, DB_Mot_Conv02 | Conveyor01, Conveyor02 | GLOBAL_FB_TEMPLATE | Original: FB10 | Active
FB_Valve | FB | 1.0.0 | Solenoid valf kontrolü | OB1 | DB_Val_V01, DB_Val_V02, DB_Val_V03, DB_Val_V04, DB_Val_V05 | V01..V05 | GLOBAL_FB_TEMPLATE | Original: FB20 | Active
FB_PID_Temperature | FB | 1.0.0 | Tank sıcaklık PID | OB35 (100ms) | DB_PID_T01 | Tank01 Heater | GLOBAL_FB_TEMPLATE | Original: FB30 | Active
FB_ModeMgr | FB | 1.0.0 | Mod yönetimi (RD04 + AuthLevel) | OB1 | DB_ModeMgr (singleton) | (sistem geneli) | GLOBAL_FB_TEMPLATE | YENİ — eski kodda FC20 idi | Active
FB_AlarmMgr | FB | 1.0.0 | Alarm yönetimi (ISA-18.2) | OB1 | DB_AlarmMgr | (sistem geneli) | GLOBAL_FB_TEMPLATE | YENİ — eski kodda FC40 + FC50 | Active
F_FB_EStop_Operator | FB | 1.0.0 | E-Stop güvenlik FB | (SafetyTask) | F_DB_EStop | Safety system | TIA Safety lib | YENİ — F-PLC migration | Active
FC_IO_Read | FC | 1.0.0 | Tüm fiziksel girişleri oku | OB1 | (global) | (tüm IO) | Custom | Original: FC1 | Active
FC_IO_Write | FC | 1.0.0 | Tüm fiziksel çıkışları yaz | OB1 | (global) | (tüm IO) | Custom | Original: FC2 | Active
FC_Sequence | FC | 1.0.0 | Sequence/State machine (RD03) | OB1 | (global) | (tüm) | Custom | Original: FC30 (CASE-based) | Active
FC_Recipe_Load | FC | 1.0.0 | Recipe yükleme | OB1 | - | (sistem) | Custom | YENİ — eski kodda yok | Active
FC_HMI_DataPack | FC | 1.0.0 | HMI veri paketleme | OB1 | - | (HMI) | Custom | Original: FC50 | Active
FC_Diagnostic | FC | 1.0.0 | Diagnostic logger | OB82 | - | (sistem) | Custom | Original: FC99 | Active

## ParamList
BlockName | ParamName | Section | Type | DefaultValue | Description | LinkedTag | Notes
FB_Motor_Conveyor | in_bStartCmd | IN | BOOL | FALSE | Start-Befehl | MOT_CV01_001_START
FB_Motor_Conveyor | in_bStopCmd | IN | BOOL | FALSE | Stopp-Befehl
FB_Motor_Conveyor | in_bResetCmd | IN | BOOL | FALSE | Reset-Befehl
FB_Motor_Conveyor | in_bSafetyOK | IN | BOOL | FALSE | Safety-System OK | F_DB_EStop.bQ | F-PLC cross-ref
FB_Motor_Conveyor | in_iMode | IN | INT | 0 | Betriebsart | DB_ModeMgr.iCurrentMode
FB_Motor_Conveyor | in_rSetSpeed | IN | REAL | 0.0 | Drehzahl-Sollwert (%)
FB_Motor_Conveyor | out_bRunning | OUT | BOOL | FALSE | Motor läuft | MOT_CV01_001_OUT
FB_Motor_Conveyor | out_bFault | OUT | BOOL | FALSE | Störung
FB_Motor_Conveyor | out_iFaultCode | OUT | INT | 0 | Störungscode
FB_Motor_Conveyor | out_rActSpeed | OUT | REAL | 0.0 | Drehzahl-Istwert | ANALOG_SP_OUT_001
FB_Motor_Conveyor | inout_udMotorData | INOUT | UDT_Motor | - | HMI veri | DB_Mot_Conv01.sMotor
FB_Motor_Conveyor | stat_bInternalRunReq | STAT | BOOL | FALSE | İç çalışma talebi
FB_Motor_Conveyor | stat_TON_StartDelay | STAT | TON | - | Start gecikme timer |  | Multi-instance
... | ... | ... | ... | ... | ... | ... | (kısaltıldı)